1. Open Device Manager and select the USBTMC instrument.


2. Right click to open the context menu and select “Update Driver Software…”  menu item.

[image: image1.png]\Qj 1l Update Driver Software - USB Test and Measurement Device (V1)

How do you want to search for driver software?

+ Search automatically for updated driver software
Windows villsesrch your computer and theInteret or the atest drver software
foryour device, unles you've disbled this festure n your device nsallation
setings.

+ Browse my computer for driver software
Locste and instll driver software manualy.





3. Select “Browse my computer for driver software” and then browse to \Program Files (x86)Geotest\HW folder

[image: image2.png]K3 L Update river Software - USB Testand Measurement Device (V1)

Browse for driver software on your computer

Search for driver software i this location:

[C:\Program Files (66)\Geotest\HV] v [ Browse..

Include subfolders

+ Let me pick from a list of device drivers on my computer
This st will show instlle driver softwsre compatible with the device, snd sl drver
Software i the same category 3 the device.





4. Hit next to install the new driver. If this step failed, Windows reselect current driver from Agilent “USB Test and Measurement Device (IVI)” instead of ATEasy driver “USBTMC” then goto step 5.

5. Repeat step 1-3 but instead of brow to \Program Files (x86)Geotest\HW folder, select “Let me pick from a list of device drivers on my computer” instead

[image: image3.png]K3 L Update Driver Software - USBTMC

Select the device driver you want to install for this hardware.

Geotest  Select the manufacturer and model of your hardware device and then click Next. f you have a
FXi sk that contains the arver you wont t mstal, click Hove Digk

Show compatible hardware

Model

51USB Test and Measurement Device (V)
USBTMC Version: 4,500 [10/19/2011]
USBTMC Version: 45610 [12/28/2012]
USBTMC Version: 4.6.20 [3/4/2013]





6. Select USBTMC with the latest Version (4.6.3.0) and then hit Next.

