## Sheet1
Frequency | 10000000 | Hz
En (Input Signal Noise) | 0.01 | Vrms
Gate Time | 0.001 | seconds
Signal Amplitude | 1 | V
Time Base Accuracy | 1e-06 | Equivalent PPM
Slew Rate | 62831853.0718 | V/s
Trigger Error | 1.5935e-10 | seconds rms
GTX2210 LSD | 100
GTX2220/30 LSD | 1
GTX2210 Resolution | 105.231 | Hz
GTX2220/30 Resolution | 6.231 | Hz
TimeBase Error | 10 | Hz
GTX2210 Accuracy | 115.231 | Hz
GTX2220/30 Accuracy | 16.231 | Hz